M E M O R A N D U M

DATE:		February 5, 2016

TO:		James Armstrong, Chief, FRA

Darron Carlson, Manager, FRA

Del Smith, Supervisor, Engineering

FROM:	Michael S. Thompson, P.E.

Water/Wastewater Engineer

RE:		Depreciation Rates For Wastewater Companies

Attached are general guidelines for annual wastewater depreciation rates by NARUC Account Numbers.  These rates represent a typical and customary value within a range of anticipated equipment life.

Wastewater companies may experience different rates due to variations in construction, environment, or the physical and chemical characteristics of the wastewater.  For rate making purposes, the actual values used to calculate an annual depreciation expense should reflect, as closely as possible, the actual retirement rates experienced by the wastewater company.  However, faster depreciation rates should not be used if they are the result of imprudence, poor maintenance, or negligence by the wastewater company.

Staff Engineering recommends these depreciation rates be used for all wastewater companies, unless the company can demonstrate that a particular depreciation rate should be different based on its unique operating characteristics.

Attachment

Cc:	Tom Broderick, Director

Elijah Abinah, Assistant Director, Utilities

DEPRECIATION RATES FOR WASTEWATER COMPANIES

| NARUC Acct. No. | Depreciable Plant | Average Service Life (Years) | Annual Accrual Rate (%) |
| --- | --- | --- | --- |
| 351 | Organization | ---- | 0.00 |
| 352 | Franchises | ---- | 0.00 |
| 353 | Land and Land Rights | ---- | 0.00 |
| 354 | Structures & Improvements | 30 | 3.33 |
| 355 | Power Generation Equipment | 20 | 5.00 |
| 360 | Collection Sewers – Force | 50 | 2.00 |
| 361 | Collection Sewers- Gravity | 50 | 2.00 |
| 362 | Special Collecting Structures | 50 | 2.00 |
| 363 | Services to Customers | 50 | 2.00 |
| 364 | Flow Measuring Devices | 10 | 10.00 |
| 365 | Flow Measuring Installations | 10 | 10.00 |
| 366 | Reuse Services | 50 | 2.00 |
| 367 | Reuse Meters & Meter Installations | 12 | 8.33 |
| 370 | Receiving Wells | 30 | 3.33 |
| 371 | Pumping Equipment | 8 | 12.50 |
| 374 | Reuse Distribution Reservoirs | 40 | 2.50 |
| 375 | Reuse Transmission & Distribution System | 40 | 2.50 |
| 380 | Treatment & Disposal Equipment | 20 | 5.00 |
| 381 | Plant Sewers | 20 | 5.00 |
| 382 | Outfall Sewer Lines | 30 | 3.33 |
| 389 | Other Plant & Miscellaneous Equipment | 15 | 6.67 |
| 390 | Office Furniture & Equipment | 15 | 6.67 |
| 390.1 | Computers & Software | 5 | 20.00 |
| 391 | Transportation Equipment | 5 | 20.00 |
| 392 | Stores Equipment | 25 | 4.00 |
| 393 | Tools, Shop & Garage Equipment | 20 | 5.00 |
| 394.1 | Laboratory Equipment | 10 | 10.00 |
| 395 | Power Operated Equipment | 20 | 5.00 |
| 396 | Communication Equipment | 10 | 10.00 |
| 397 | Miscellaneous Equipment | 10 | 10.00 |
| 398 | Other Tangible Plant | See Note 2 | See Note 2 |

NOTES:

- These depreciation rates represent average expected rates.  Wastewater companies may experience different rates due to variations in construction, environment, or the physical and chemical characteristics of the wastewater.

2.	Acct. 398, Other Tangible Plant may vary from 5% to 50%.  The depreciation rate would be set in accordance with the specific capital items in this account.