Customer High Water Use Inquiry Resolution Tariff – BMP 3.6

PURPOSE

A program for the Company to assist its customers with their high water-use inquiries and complaints (Modified Non-Per Capita Conservation Program BMP Category 3: Outreach Services 3.6: Customer High Water Use Inquiry Resolution).

REQUIREMENTS

The requirements of this tariff are governed by Rules of the Arizona Corporation Commission and were adapted from the Arizona Department of Water Resources’ Required Public Education Program and Best Management Practices in the Modified Non-Per Capita Conservation Program.

- The Company shall handle high water use inquiries as calls are received.

- Calls shall be taken by a customer service representative who has been trained on typical causes of high water consumption as well as leak detection procedures that customers can perform themselves.

- Upon request by the customer or when the Company determines it is warranted, a trained Field Technician shall be sent to the customer’s residence to conduct a leak detection inspection and provide the customer with water conservation measures.  The leak detection inspection may consist of a meter read check for flow verification.  If the on-site inspection is requested by the customer, the Commission approved meter re-read tariff fee shall apply.

- The Company shall follow up in some way on every customer inquiry or complaint and keep a record of inquiries and follow-up activities.