Water Waste Investigations and Information Tariff – BMP 3.8

PURPOSE

A program for the Company to assist customers with water waste complaints and provide customers with information designed to improve water use efficiency (Modified Non-Per Capita Conservation Program BMP Category 3: Outreach Services 3.8: Water Waste Investigations and Information).

REQUIREMENTS

The requirements of this tariff are governed by Rules of the Arizona Corporation Commission specifically R14-2-403 and R14-2-410 and were adapted from the Arizona Department of Water Resources’ Required Public Education Program and Best Management Practices in the Modified Non-Per Capita Conservation Program.

- The Company shall handle water waste complaints as calls are received.

- Calls shall be taken by a customer service representative who has been trained to determine the type of water waste and to determine if it may be attributed to a leak or broken water line.

- The Company shall follow up on every water waste complaint.

- Upon request by the customer or when the Company determines it is warranted, a trained Field Technician shall be sent to investigate further and notify the responsible party of the waste and offer assistance and information to prevent waste in the future.

- A letter of enforcement will be issued to customers with water running beyond the curb and/or off the customers property due to such things as, but not limited to, backwashing of pools, broken sprinkler heads, and over watering of lawns beyond the saturation point.

- The same procedures outlined above in item #4 will be followed in the event of a second violation.  Termination of service may result in the event of the third violation within a 12 month period. In the event of a third violation the customer’s service may be terminated per Arizona Administrative Code R14-2-410C, R14-2-410D and R14-2-410E (applicable service reconnection fees shall apply).

- The Company shall record each account and each instance noted for water waste, the action taken and any follow-up activities.

- Subject to the provisions of this tariff, compliance with the water waste restriction will be a condition of service.

- The Company shall provide to its customers a complete copy of this tariff and all attachments upon request and to each new customer.  The customer shall abide by the water waste restriction.

- If a customer believes he/she has been disconnected in error, the customer may contact the Commission's Consumer Services Section at 1-800-222-7000 to initiate an investigation.