Low Water Use Landscaping Requirements Tariff for Residential, Multi-family, Non-residential, and/or Common Areas – BMP 5.1

PURPOSE

A program for the Company to reduce water use within its service area and/or increase water use efficiency by limiting or reducing water used for specific purposes (Modified Non-Per Capita Conservation Program BMP Category 5: Ordinances/Conditions of Service/Tariffs 5.1: Low Water Use Landscaping Requirements for Residential, Multi-family, Non-residential, and/or Common Areas).

REQUIREMENTS:

The requirements of this tariff are governed by Rules of the Arizona Corporation Commission, specifically A.A.C. R14-2-403 and R14-2-410 and were adapted from the Arizona Department of Water Resources’ Required Public Education Program and Best Management Practices  in the Modified Non-Per Capita Conservation Program.

- The following landscape restrictions will be required in order for a customer to receive water service from the Company on or after the effective date of this tariff:

All Residential Customers -

  - All front yards shall be landscaped with xeriscape (low water use) materials.  A list of low water use landscaping materials is available from the Company upon request.  No turf of any kind that requires watering shall be allowed in front yards.

  - Turf in back yards shall be limited to no more than fifty percent (50%) of the total backyard area.

  - No home shall be equipped with a swimming pool, jacuzzi, or other water-use intensive feature (e.g., fountain, fish pond, etc.).

All Non-Residential Customers -

a.	All landscape shall be accomplished with xeriscape (low water use) materials.  A list of low water use landscaping materials is available from the Company upon request.  No turf of any kind that requires watering shall be allowed.  This requirement shall not apply to community parks that are watered with effluent.

b.	No swimming pools (except for community swimming pools and jacuzzi) or other water-use intensive features (e.g., fountain, fish pond, etc.) shall be allowed.

2.  Subject to the provisions of this tariff, the installation of the landscape restrictions will be a condition of service.

3.	The Company shall provide to its customers a complete copy of this tariff and all attachments upon request for service.  The customer shall follow and abide by these landscape restrictions.

- If after a customer has been connected to the Company water system, the Company discovers that the customer has installed turf or water-use intensive features contrary to the above requirements, the Company shall notify (in writing) the customer of such violation and provide the customer with the appropriate educational materials informing the customer of some possibilities of how to correct the problem.  The customer shall be allowed sixty (60) days to come into compliance with the above requirements.  If after sixty (60) days the customer is not in compliance with the above requirements, the customer’s service may be terminated per Arizona Administrative Code R14-2-410C, R14-2-410D and R14-2-410E.

- If a customer believes he/she has been disconnected in error, the customer may contact the Commission's Consumer Services Section at 1-800-222-7000 to initiate an investigation.